## CT 1
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 2
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 3
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 4
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 5
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 6
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 7
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 8
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 9
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.

## CT 10
AEGIS Loss Control Property Operations - General Electric '7F' Engine Technical Summary (Version 9.4)
Account Name: |  | Site Unit Designation:
Site Name: |  | GE Serial Number:
Street Address: |  | Commercial Operation Date:
City: |  | Customer Service Agreement In Place:
State: |  | GE Contract Performance Manager on Site:
Zip Code: |  | Technical Summary Completion Date:
General Unit Data (select from drop down list in column B) |  | Unit Operational Data |  | Model Variation | Fuel Configuration | Comp. Enhancement Pkg
Model Variation: |  | Total Unit Fired Hours: |  | 7FA.01/PG 7221 | Dual Fuel (Natural Gas & Fuel Oil) | None
ISO MW Rating: |  | Total Unit Factored Fired Hours: |  | 7FA.02/PG 7231 | Natural Gas | Pkg. 1
Fuel Configuration |  | Total Unit Fired Starts: |  | 7FA.03/PG 7241 | Fuel Oil | Pkg. 2
Compressor Configuration: |  | Total Unit Factored Fired Starts: |  | 7FA.04 | Syn-Gas | Pkg. 2+
GE Compressor Enhancement Package: |  | Is Auto-Tune enabled?: |  | 7FB |  | Pkg. 3
Enhanced Compressor Provider: |  | Remote Tuning Capable?: |  | 7FA.05 |  | Pkg. 4
Advanced Gas Path (AGP) upgrade?: |  | Inspection Activity (As defined by GER 3620P) |  | 7F Syn-gas |  | Pkg. 5
AGP Provider: |  | Date of last complete borescope inspection:
Is Unit Remotely Monitored?: |  | Date of last Combustion Inspection:
Is the Unit equipped with a blade health monitoring system (BHM)?: |  | Hours at last Combustion Inspection: |  | Compressor Config. | Service Duty | Inlet Power Augmentation | Water Wash Frequency | Type of Inlet Filter | Current Type of R0 Comp. Blade
Service Duty: |  | Starts at last Combustion Inspection: |  | Unflared | Base Loaded | None | Daily | Standard | Standard (Pre 2005)
Inlet Power Augmentation: |  | Combustion Inspection Interval (Hours/Starts): |  | Flared/Cambered | Peaking | Inlet Chillers | Monthly | HEPA | Standard (Post 2005)
Compressor Wash Practice: |  | Date of last HGP inspection: |  | Flared/Uncambered | Cycling | Evap Coolers | Quarterly | Coalescing | Enhanced (Coated)
Water Wash Frequency: |  | Hours at last HGP inspection: |  | Not Applicable |  | Inlet Fogging | Prior to Borescope | Static | P-Cut
Type of Inlet Air Filtration: |  | Starts at last HGP inspection: |  |  |  | Wet Compression | Based on Performance |  | PSM
Type of R-0 Compressor Blade (Current): |  | HGP Inspection Interval (Hours/Starts): |  |  |  | Air Injection |  |  | Other Non-OEM
Date of R-0 Replacement: |  | Date of last Major Inspection: |  |  |  | Steam Injection
Current Hours on R-0 Blades: |  | Hours at last Major Inspection:
Total Hours of oldest CT Rotor Component: |  | Starts at last Major Inspection:
Rotor Starts: |  | Major Inspection Interval (Hours/Starts):
Turning Gear Speed: |  | BI/CI/HGP/MI Service Provider?:
Time on Turning Gear: |  | Configuration Comments/Upgrades:
CT Control System:
TIL Applicability and Disposition
GE TIL Reference Number | Applicability | Disposition | Date (latest for recurring) | Applicability | Disposition
Turbine Bucket Lockwire Redesign and Inspection 1214 |  |  |  | Not Applicable | Not Applicable
Inlet Filter House Evap Cooler Inspect and Maint 1399 |  |  |  | Applicable | Not Planned
Lube Oil Protection Logic 1420 |  |  |  | Applicable/Recurring | Planned
7241 S17 Distress Update 1438 - updates 1315, 1316, 1387 |  |  |  | Superseeded | Recurring (on-going)
DC Emergency Pump Recommendations 1469 |  |  |  | Obsolete | Deffered
Comp S-17 Control Mod 1478 |  |  |  |  | Completed
Aft End Compressor Rubs 1502
Comp R-0 and R-1 Inspections 1509
Maintenance and Inspection of Inlet Air Systems 1518
Creep of Carbon Steel Fabricated CDC 1532
Turbine Rotor Supplemental Recs 1543
Compressor Shim Migration 1562
Gas Turbine Rotor Inspections 1576
Turbine Compt Water Systems Maintenance 1579
F-Class Lift Oil Line Hose Inspection 1582
R0 Erosion and Water Ingestion Rec's 1603
R0 Compressor Blade Axial Retention (Staking) 1615-R1
R0-R1 Platform UT Testing 1638
Quatenary Anulus Inspection and Cleaning 1724
F-Class Aft Stator Rocking Inspection 1769
F-Class Bearing #2 Labyrinth Seal Maint/Insp 1781-R1
Stage 2 Bucket Insp. Recs 1858, 1859 or 1863
1st Row Compressor Blade Migration and Staking 1870-R2
MKVI Network Security 1881
Rotor Forward Shaft Dovetail Crack 1907
CW12-17 dovetail slot inspection 1971 or 1972
Lube and Seal Oil Pump Discharge Check Valve Mod 1919
F-Class Turbine Wheel Inspection/Maint 1945 & 1937
7F.03 Stage 2 Bucket Repair Recommendations 1984
7F and 9F Stage 3 Bucket Airfoil Distress 2006
7F.03 S3B Creep/Shroud Cooling Enhancements 2045
F-Class Inlet Guide Vane to Rub Ring Rubbing 2049-R1
7F/9F 1-2 Spacer Wheel Rim Inspection 2069
7F/9F Inspection For Manifold Weldolet Cracks 2080
Stage1 Nozzle Creep Degradation Model 2181
7F.05 T-Faring Distress 2212
F-Class Balance Weight Groove Entry Slot Inspection 2284
Please provide answers to the following general questions:
Have the borescope inspections since the last major inspection identified compressor blade rubs that have led to tip curling?
Does the unit have any non-OEM components installed?
Has any compressor shim migration been identified? Document or explain the corrective actions for mitigation:
Has there been any evidence of clashing in the compressor?
Have any FOD/DOD events been identified for the unit? - If yes, please provide cause and corrective action:
Please provide answers to above questions or explain increased inspection/maintenance activities as a result of noted TIL'S or inspections:
Copyright © 2020 AEGIS. All rights reserved.